## GRR Data Sheet
3.1 %GRR Study
Recommended to be used if measurements are highly influenced by the operator
Instructions :
1. Select 3 operators (or 3 different systems)
2. Select 10 production parts which can represent the operating variation of the process
3. Each operator will repeat each trial 3x
4. Only enter data in blue colored cells
|  | Area: | [5 empty] | Process: | Test
|  | Gauge Name: | [5 empty] | Serial #:
|  | Parameter: | [5 empty] | units:
[5 empty] | Trials |  | Parts |  | Appraisers
[5 empty] | 3 |  | 10 |  | 2
APPRAISER/ |  | PART | [9 empty] | AVERAGE |  | Measurement Unit Analysis | [5 empty] | % Tolerance (Tol)
TRIAL # |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  |  | Repeatability - Equipment Variation (EV)
1. A | 1 | 0.97458 | 0.98523 | 0.98412 | 0.98358 | 0.98321 | 0.97685 | 0.98708 | 0.98623 | 0.98596 | 0.98166 |  | 0.98285 | EV | = | R x K1 |  | Trials | K1 | % EV | = | 100 (EV/TV)
2 | 2 | 0.97482 | 0.98408 | 0.98456 | 0.98533 | 0.9832 | 0.97734 | 0.98736 | 0.98567 | 0.98639 | 0.98125 |  | 0.983 |  | = | 0.001 x 0.5908 |  | 2 | 0.8862 |  | = | 100(0.000/0.004)
3 | 3 | 0.97538 | 0.98323 | 0.98422 | 0.984 | 0.98258 | 0.97704 | 0.98659 | 0.98501 | 0.98616 | 0.98094 |  | 0.98252 |  | = | 0.00045433 |  | 3 | 0.5908 |  | = | 12.7448
4 | AVE | 0.97493 | 0.98418 | 0.9843 | 0.9843 | 0.983 | 0.97708 | 0.98701 | 0.98564 | 0.98617 | 0.98128 | xa= | 0.98279 | Reproducibility - Appraiser Variation (AV)
5 | R | 0.0008 | 0.002 | 0.00044 | 0.00175 | 0.00063 | 0.00049 | 0.00077 | 0.00122 | 0.00043 | 0.00072 | ra= | 0.000925 | AV | = | {(xDIFF x K2)2 - (EV2/nr)}1/2 |  |  |  | % AV | = | 100 (AV/TV)
6. B | 1 | 0.97608 | 0.9841 | 0.98433 | 0.9842 | 0.98289 | 0.97678 | 0.98597 | 0.98488 | 0.98665 | 0.98054 |  | 0.98264 |  | = | {(0.000 x 0.7071)^2 - (0.000 ^2/(10 x 3))}^1/2 |  |  |  |  | = | 100(0.000/0.004)
7 | 2 | 0.97521 | 0.98377 | 0.98378 | 0.98417 | 0.98202 | 0.97717 | 0.98647 | 0.98549 | 0.98617 | 0.98116 |  | 0.98254 |  | = | 0.00012543 | Appraisers | 2 | 3 |  | = | 3.5186
8 | 3 | 0.97555 | 0.98432 | 0.98409 | 0.98397 | 0.98292 | 0.97697 | 0.98554 | 0.98499 | 0.98651 | 0.98058 |  | 0.98254 |  |  |  | K2 | 0.7071 | 0.5231 | n = number of parts
9 | AVE | 0.97561 | 0.98406 | 0.98407 | 0.98411 | 0.98261 | 0.97697 | 0.98599 | 0.98512 | 0.98644 | 0.98076 | xb= | 0.98258 | Repeatability & Reproducibility (R & R) | [5 empty] | r = number of trials
10 | R | 0.00087 | 0.00055 | 0.00055 | 0.00023 | 0.0009 | 0.00039 | 0.00093 | 0.00061 | 0.00048 | 0.00062 | rb= | 0.000613 | R & R | = | {(EV2 + AV2)}1/2 |  | Parts | K3
11. C | 1 | [13 empty] | = | {(0.000^2 + 0.000^2)}^1/2 |  | 2 | 0.7071 | % R&R | = | 100 (R&R/TV)
12 | 2 | [13 empty] | = | 0.00047132 |  | 3 | 0.5231 |  | = | 100(0.000/0.004)
13 | 3 | [12 empty] | Part Variation (PV) |  |  |  | 4 | 0.4467 |  | = | 13.22%
14 | AVE | [10 empty] | xc= |  | PV | = | RP x K3 |  | 5 | 0.403 | Gage system may be acceptable
15 | R | [10 empty] | rc= |  |  | = | 0.011 x 0.3146 |  | 6 | 0.3742
16. PART | [11 empty] | X= | 0.98268 |  | = | 0.0035335 |  | 7 | 0.3534 | % PV | = | 100 (PV/TV)
AVE ( Xp ) |  | 0.97527 | 0.98412 | 0.98418 | 0.98421 | 0.9828 | 0.97703 | 0.9865 | 0.98538 | 0.98631 | 0.98102 | Rp= | 0.011232 | Total Variation (TV) |  |  |  | 8 | 0.3375 |  | = | 100(0.004/0.000)
17 | (ra + rb + rc) / (# OF APPRAISERS) = | [10 empty] | R= | 0.000769 | TV | = | {(R&R2 + PV2)}1/2 |  | 9 | 0.3249 |  | = | 99.1221
18 | (Max x - Min x) = | [10 empty] | xDIFF= | 0.00021267 |  | = | {(0.000^2 + 0.004^2)}^1/2 |  | 10 | 0.3146 | ndc | = | 1.41(PV/GRR)
19 | R x D4* = | PART 3: APPRAISER; PART 5: A; PART 8: OUT OF CONTROL | UCLR= | 0.001984 |  | = | 0.0035648 |  |  |  |  | = | 10.5707
20 | R x D3* = | [10 empty] | LCLR= | 0